Evaluation Framework and Metric Plan: MedScanAssist

Jackson McKeigue

AI 5273: AI Capstone Project

Carlos A. Escobar

4/12/26

Introduction

The development of MedScanAssist, a deep learning-based clinical decision support system for pneumonia detection, requires a structured evaluation framework to ensure that the system is not only technically effective but also clinically meaningful, ethical, and reliable. As established in prior project work, success is not defined solely by predictive accuracy but by the system’s ability to function responsibly within a healthcare context. This evaluation framework integrates performance metrics, ethical considerations, stakeholder needs, and risk mitigation strategies to provide a comprehensive approach to assessing system effectiveness.

Importantly, this framework also incorporates a key feasibility consideration raised in prior feedback: the use of transfer learning vs. training from scratch. Given dataset size limitations and the need for robust generalization, transfer learning using pretrained CNN architectures (i.e., ResNet or DenseNet) will serve as the primary modeling approach, while a custom CNN will be used as a baseline for comparison. This decision directly influences evaluation expectations, training efficiency, and model performance.

Success Criteria

Success for MedScanAssist is defined across three dimensions, technical performance, clinical relevance, and ethical responsibility.

First, the model must achieve clinically meaningful classification performance, particularly high sensitivity (recall) to minimize missed pneumonia cases. In medical contexts, false negatives carry greater risk than false positives, making recall a primary success indicator.

Second, the system must demonstrate robust generalization across validation datasets, including cross-validation and, where possible, external datasets. This ensures that the model is not overfitting to a single dataset and can perform reliably in varied clinical environments.

Third, the system must maintain interpretability and usability. The integration of Grad-CAM visualizations and probability outputs ensures that clinicians can understand and validate model predictions, reinforcing its role as a decision-support tool rather than an autonomous system.

Finally, success includes ethical alignment, ensuring fairness across populations, transparency in outputs, and safe integration into clinical workflows.

Evaluation Metrics

To assess system performance holistically, four key conceptual metrics are defined: reliability, fairness, transparency, and usability.

- Reliability (Performance & Robustness)

Reliability refers to the model’s ability to produce accurate and consistent predictions across different datasets and conditions. This includes traditional classification metrics such as sensitivity, specificity, precision, F1-score, and ROC-AUC. Sensitivity is prioritized due to the clinical importance of detecting pneumonia cases.

- Fairness (Equitable Performance Across Groups)

Fairness evaluates whether the model performs consistently across different demographic or institutional subgroups. Given known biases in medical datasets, fairness ensures that no group is disproportionately affected by model errors (Ghassemi et al., 2021).

- Transparency (Explainability and Interpretability)

Transparency measures the extent to which stakeholders can understand model predictions. In MedScanAssist, this is addressed through Grad-CAM visualizations and probability-based outputs rather than binary classifications.

- Usability (Clinical Integration and Decision Support Value)

Usability evaluates how effectively clinicians can interact with and benefit from the system. This includes clarity of outputs, ease of interpretation, and alignment with clinical workflows.

Assessment Methods

Each metric will be evaluated using conceptual and methodological approaches aligned with best practices in medical AI.

Reliability will be assessed using k-fold cross-validation, confusion matrix analysis, and ROC curve evaluation. Threshold calibration will also be performed to optimize sensitivity while maintaining acceptable specificity.

Fairness will be evaluated through subgroup performance analysis, comparing metrics across demographic variables (when available) and dataset sources. This helps identify disparities caused by dataset bias or domain shift.

Transparency will be assessed qualitatively by reviewing Grad-CAM outputs to ensure that highlighted regions correspond to clinically relevant lung features. Additionally, stakeholder interpretability will be evaluated based on how easily clinicians can understand prediction outputs.

Usability will be assessed through scenario-based evaluation, simulating how clinicians interact with the system. This includes reviewing whether outputs (probability scores, heatmaps) support decision-making without causing confusion or overreliance.

Data Quality Considerations

Data quality plays a critical role in model evaluation and overall system reliability. Medical imaging datasets often contain limitations such as class imbalance, demographic bias, and domain variability across institutions.

Class imbalance can skew evaluation metrics, making accuracy misleading. This will be addressed through weighted loss functions and evaluation metrics such as F1-score and ROC-AUC.

Dataset bias may result in uneven performance across populations. Limited demographic diversity in datasets such as NIH ChestX-ray14 may affect generalizability, necessitating subgroup evaluation and fairness auditing.

Domain shift is another significant concern, as imaging conditions vary across hospitals. Models trained on one dataset may not generalize well to others, making cross-validation and external testing essential.

Finally, labeling inconsistencies in public datasets may introduce noise, affecting both training and evaluation. Careful preprocessing and validation strategies are required to mitigate these risks.

Risk-Mitigation Mapping

The evaluation framework aligns with the NIST AI Risk Management Framework (AI RMF), which emphasizes identifying, assessing, and mitigating risks throughout the AI lifecycle (NIST, 2023).

Risk 1: False Negatives (Missed Diagnoses)

False negatives represent a critical clinical risk, as missed pneumonia cases can delay treatment and worsen patient outcomes.

Mitigation Strategy:

Threshold calibration will prioritize sensitivity, ensuring that the model minimizes false negatives. This aligns with the “Manage” function of the NIST AI RMF by actively reducing high-impact risks.

Risk 2: Dataset Bias and Fairness Issues

Bias in training data may lead to unequal performance across demographic groups, reinforcing healthcare disparities.

Mitigation Strategy:

Fairness audits and subgroup evaluations will be conducted to identify disparities. Where possible, diverse datasets and domain adaptation techniques will be incorporated. This aligns with the “Map” and “Measure” functions of the NIST AI RMF.

Risk 3: Overreliance on AI Systems

Clinicians may place excessive trust in AI predictions, reducing critical evaluation.

Mitigation Strategy:

The system will present probability scores and visual explanations rather than definitive outputs, reinforcing its assistive role. Human-in-the-loop design ensures clinicians retain final decision authority.

Conclusion

The evaluation framework for MedScanAssist provides a comprehensive approach to assessing system success across technical, clinical, and ethical dimensions. By integrating reliability, fairness, transparency, and usability metrics with structured assessment methods and risk mitigation strategies, this plan ensures that the system is evaluated holistically.

Rather than focusing solely on predictive accuracy, this framework emphasizes responsible AI development, aligning with established guidelines such as the NIST AI RMF. Through this approach, MedScanAssist aims to demonstrate not only strong technical performance but also safe, equitable, and interpretable use in clinical decision support.

References

Ghassemi, M., Oakden-Rayner, L., & Beam, A. L. (2021). The false hope of current approaches to explainable artificial intelligence in health care. The Lancet Digital Health, 3(11), e745–e750.

Kelly, C. J., Karthikesalingam, A., Suleyman, M., Corrado, G., & King, D. (2019). Key challenges for delivering clinical impact with artificial intelligence. BMC Medicine, 17(1), 195.

National Institute of Standards and Technology (NIST). (2023). AI Risk Management Framework (AI RMF 1.0).

Pan, S. J., & Yang, Q. (2010). A survey on transfer learning. IEEE Transactions on Knowledge and Data Engineering, 22(10), 1345–1359.

Rajpurkar, P., et al. (2017). CheXNet: Radiologist-level pneumonia detection on chest X-rays with deep learning. arXiv preprint arXiv:1711.05225.